## Sheet1
Frequency (MHz) | SR | Polarization | Correction (dB) | Comment | Sample ID | Mesure (dBµV/m) | Detector type | Margin (dB) | Overtaking (dB) | Conformity | Configuration | Limite (dBµV/m)
1.162 | 1 | Vertical | 9.91 | - | CRE2-2025-TP002-03 |  | Peak | N/A | - | - | ER_In front of harness RBW 9kHz
27.262 | 2 | Vertical | 10.29 | - | CRE2-2025-TP002-03 |  | Peak | N/A | - | - | ER_In front of harness RBW 9kHz
1.162 | 1 | Vertical | 9.91 | - | CRE2-2025-TP002-03 |  | Peak | N/A | - | - | ER_In front of harness RBW 9kHz
27.2665 | 2 | Vertical | 10.29 | - | CRE2-2025-TP002-03 |  | Peak | N/A | - | - | ER_In front of harness RBW 9kHz
1.162 | 1 | Vertical | 9.91 | - | CRE2-2025-TP002-03 |  | Peak | N/A | - | - | ER_In front of harness RBW 9kHz
27.262 | 2 | Vertical | 10.29 | - | CRE2-2025-TP002-03 |  | Peak | N/A | - | - | ER_In front of harness RBW 9kHz
1.1912 | 1 | Vertical | 9.91 | - | CRE2-2025-TP002-03 | -25.71 |  | 69.71 | - | OK | ER_In front of harness RBW 9kHz | 44
27.3475 | 2 | Vertical | 10.29 | - | CRE2-2025-TP002-03 | -21.83 |  | 49.83 | - | OK | ER_In front of harness RBW 9kHz | 28