| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | , Invalid DateTime |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:, DUT Orientation:, Housing connected to the ground plane:, Configuration of the power return line LV:, |
| Operating mode: |  |  |  | , Conclusion : |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | **************** Mode 3******************** |
| --- | --- |

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | , Invalid DateTime |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:, DUT Orientation:, Housing connected to the ground plane:, Configuration of the power return line LV:, |
| Operating mode: |  |  |  | , Conclusion : |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | ****************X-axis******************** |
| --- | --- |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | VA/FK, 17/02/2025 17:08:38 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of harness, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | BGN ON, Conclusion : comply |  |

GraphiqueEMIRE

CISPR.AVG/Lim.Avg (2)

| Frequency (MHz) | SR | CISPR.AVG (dBÂµV/m) | Lim.Avg (dBÂµV/m) | CISPR.AVG-Lim.Avg (dB) | Polarization | Correction (dB) |
| --- | --- | --- | --- | --- | --- | --- |
| 1.19125 | 1 | 18.29 | 44.00 | -25.71 | Vertical | 9.91 |
| 27.3475 | 2 | 6.17 | 28.00 | -21.83 | Vertical | 10.29 |

Peak/Lim.Q-Peak (2)

| Frequency (MHz) | SR | Peak (dBÂµV/m) | Lim.Q-Peak (dBÂµV/m) | Peak-Lim.Q-Peak (dB) | Polarization | Correction (dB) |
| --- | --- | --- | --- | --- | --- | --- |
| 1.162 | 1 | 33.19 | 51.00 | -17.81 | Vertical | 9.91 |
| 27.262 | 2 | 22.61 | 45.00 | -22.39 | Vertical | 10.29 |

Q-Peak/Lim.Q-Peak (2)

| Frequency (MHz) | SR | Q-Peak (dBÂµV/m) | Lim.Q-Peak (dBÂµV/m) | Q-Peak-Lim.Q-Peak (dB) | Polarization | Correction (dB) |
| --- | --- | --- | --- | --- | --- | --- |
| 1.162 | 1 | 31.17 | 51.00 | -19.83 | Vertical | 9.91 |
| 27.2665 | 2 | 16.96 | 45.00 | -28.04 | Vertical | 10.29 |

Peak/Lim.Peak (2)

| Frequency (MHz) | SR | Peak (dBÂµV/m) | Lim.Peak (dBÂµV/m) | Peak-Lim.Peak (dB) | Polarization | Correction (dB) |
| --- | --- | --- | --- | --- | --- | --- |
| 1.162 | 1 | 33.19 | 64.00 | -30.81 | Vertical | 9.91 |
| 27.262 | 2 | 22.61 | 58.00 | -35.39 | Vertical | 10.29 |

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-03_ER_In front of harness RBW 9kHz |
| --- | --- |

| name | 100kHz-10MHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 9kHz |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 9kHz-30MHz_rod |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 10MHz-30MHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 9kHz |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 9kHz-30MHz_rod |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | NDN/WD, 17/02/2025 19:22:27 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of harness, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-03_ER_In front of harness RBW 9kHz_GNSS |
| --- | --- |

| name | 1.156GHz-1.617GHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.156GHz-1.617GHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | NDN/WD, 17/02/2025 19:35:06 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- |

| name | 1.156GHz-1.617GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.156GHz-1.617GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | VA/FK, 18/02/2025 17:19:49 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of harness, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- |

| name | 30MHz-200MHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 30MHz-200MHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | VA/FK, 18/02/2025 17:24:15 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of harness, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : not comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-03_ER_In front of harness RBW 1MHz WIth PA |
| --- | --- |

| name | 171MHz-200MHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 1MHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 171MHz-200MHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 1MHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-2GHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 1MHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-2GHz |  | filename | CRE2-2025-TP002-03_ER_In front of harness RBW 1MHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | VA/FK, 18/02/2025 17:38:02 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : not comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-03_ER_In front of DUT RBW 120kHz WIth PA |
| --- | --- |

| name | 30MHz-200MHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 30MHz-200MHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | NDN/WD, 18/02/2025 17:41:19 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : not comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-03_ER_In front of DUT RBW 1MHz With PA |
| --- | --- |

| name | 171MHz-200MHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 171MHz-200MHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-2GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-2GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 2GHz-6GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 1-7GHz_horn with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 2GHz-6GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 1-7GHz_horn with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | VA/FK, 18/02/2025 17:19:49 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of harness, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : not comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | NOK CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- |

| name | 30MHz-200MHz |  | filename | NOK CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 30MHz-200MHz |  | filename | NOK CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | NOK CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | NOK CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | NOK CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | NOK CRE2-2025-TP002-03_ER_In front of harness RBW 120kHz WIth PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | , Invalid DateTime |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:, DUT Orientation:, Housing connected to the ground plane:, Configuration of the power return line LV:, |
| Operating mode: |  |  |  | , Conclusion : |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | ****************Y-axis******************** |
| --- | --- |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | NDN/WD, 18/02/2025 08:49:55 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- |

| name | 1.156GHz-1.617GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.156GHz-1.617GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | NDN/WD, 19/02/2025 15:51:50 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis Y, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : not comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- |

| name | 30MHz-200MHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 30MHz-200MHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | NDN/WD, 19/02/2025 15:54:51 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis Y, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : not comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- |

| name | 171MHz-200MHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 171MHz-200MHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-2GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-2GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 2GHz-6GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 1-7GHz_horn with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 2GHz-6GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 1-7GHz_horn with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | VA/FK, 20/02/2025 15:10:44 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | Invest CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- |

| name | 1.156GHz-1.617GHz |  | filename | Invest CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.156GHz-1.617GHz |  | filename | Invest CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | , Invalid DateTime |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:, DUT Orientation:, Housing connected to the ground plane:, Configuration of the power return line LV:, |
| Operating mode: |  |  |  | , Conclusion : |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | ****************Z-axis******************** |
| --- | --- |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | NDN/WD, 18/02/2025 09:05:59 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis X, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- |

| name | 1.156GHz-1.617GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.156GHz-1.617GHz |  | filename | CRE2-2025-TP002-03_ER_In front of DUT RBW 9kHz_GNSS |
| --- | --- | --- | --- | --- |
| step | 2.25kHz |  | pre-amplifier | ON |
| set up | USE_CRE2_RESAC (A) 1.1-1.7GHz_GPS_horn |  | number of sweeping | 3 |
| RBW | 9kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | NDN/WD, 20/02/2025 10:57:23 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis Z, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : not comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- |

| name | 30MHz-200MHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 30MHz-200MHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-1GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 1.805GHz-1.995GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 120kHz With PA |
| --- | --- | --- | --- | --- |
| step | 30kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 120kHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

EQ/MR 01: Measurement of radio frequency radiated emission test

| Sample: |  |  | CRE2-2025-TP002-03 |  |  |
| --- | --- | --- | --- | --- | --- |
| Project: | CRE2-2025-TP002 RESAC |  |  |  |  |
| Operator: |  | NDN/WD, 20/02/2025 10:13:20 |  |  |  |
| Test Configuration: |  |  |  |  | Antenna position:in front of DUT, DUT Orientation:axis Z, Housing connected to the ground plane:no, Configuration of the power return line LV:remotely grounded, - |
| Operating mode: |  |  |  | Mode 3, Conclusion : not comply |  |

GraphiqueEMIRE

GraphiqueEMIRE
Test parameters

| Name test: | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- |

| name | 171MHz-200MHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 171MHz-200MHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 20MHz-300MHz_biconical with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-2GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 200MHz-2GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 200MHz-2GHz_log-periodic with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 2GHz-6GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 1-7GHz_horn with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |

| name | 2GHz-6GHz |  | filename | CRE2-2025-TP002-02_ER_In front of DUT RBW 1MHz With PA |
| --- | --- | --- | --- | --- |
| step | 250kHz |  | pre-amplifier | OFF |
| set up | USE_CRE2_RESAC (A) 1-7GHz_horn with preamp |  | number of sweeping | 3 |
| RBW | 1MHz |  | dynamic | 120 dB |
| Span | 0.1 MHz |  | reference level | 70 dBµV |
| VBW | Auto |  | RF attenuation | 0 dB |
| sweep time | 1000 ms/Step |  | RF attenuation min |  |
| Maxhold | 5 s |  |  |  |